## Channel
Channel | Type | Sweep Type | Start Freq | Stop Freq | Power | Points | IFBW | Start Power | Stop Power | CW Freq | Start Phase | Stop Phase
1 | Standard | LinearFrequency | 100000000 | 6000000000 | 10 | 801 | 100000
2 | Standard | LinearFrequency | 1000000000 | 2000000000 | 10 | 801 | 100000
3 | Standard | LinearFrequency | 2000000000 | 3000000000 | 10 | 801 | 100000
4 | Standard | LinearFrequency | 3000000000 | 4000000000 | 10 | 801 | 100000
5 | Standard | LinearFrequency | 4000000000 | 5000000000 | 10 | 801 | 100000
6 | Standard | LinearFrequency | 5000000000 | 6000000000 | 10 | 801 | 100000
7 | Standard | PowerSweep |  |  |  | 801 | 100000 | -10 | -5 | 3000000000
8 | Standard | CWTime |  |  |  | 801 | 100000 |  |  | 3000000000
9 | Standard | PhaseSweep |  |  |  | 801 | 100000 |  |  | 3000000000 | -45 | 45

## Traces
Channel | Type | Meas | Window | Sheet | Format | Title | Markers | Limits¦Test On | Limits¦Line On | Limits¦Sound On Fail
1 | Standard | S11 | 1 | 1 | MLOGarithmic | Title 1
1 | Standard | S12 | 1 | 1 | MLOGarithmic | Title 2
1 | Standard | S21 | 1 | 1 | MLOGarithmic | Title 3
1 | Standard | S22 | 1 | 1 | MLOGarithmic | Title 4
2 | Standard | S11 | 2 | 1 | MLOGarithmic | Title 5
2 | Standard | S12 | 2 | 1 | MLOGarithmic | Title 6
2 | Standard | S21 | 2 | 1 | MLOGarithmic | Title 7
2 | Standard | S22 | 2 | 1 | MLOGarithmic | Title 8
3 | Standard | S11 | 3 | 1 | MLOGarithmic | Title 9
3 | Standard | S12 | 3 | 1 | MLOGarithmic | Title 10
3 | Standard | S21 | 3 | 1 | MLOGarithmic | Title 11
3 | Standard | S22 | 3 | 1 | MLOGarithmic | Title 12
4 | Standard | S11 | 4 | 1 | MLOGarithmic | Title 13
4 | Standard | S12 | 4 | 1 | MLOGarithmic | Title 14
4 | Standard | S21 | 4 | 1 | MLOGarithmic | Title 15
4 | Standard | S22 | 4 | 1 | MLOGarithmic | Title 16
5 | Standard | S11 | 5 | 1 | MLOGarithmic | Title 17
5 | Standard | S12 | 5 | 1 | MLOGarithmic | Title 18
5 | Standard | S21 | 5 | 1 | MLOGarithmic | Title 19
5 | Standard | S22 | 5 | 1 | MLOGarithmic | Title 20
6 | Standard | S11 | 6 | 1 | MLOGarithmic | Title 21
6 | Standard | S12 | 6 | 1 | MLOGarithmic | Title 22
6 | Standard | S21 | 6 | 1 | MLOGarithmic | Title 23
6 | Standard | S22 | 6 | 1 | MLOGarithmic | Title 24
7 | Standard | S11 | 7 | 1 | MLOGarithmic | Power Trace 1
7 | Standard | S12 | 7 | 1 | MLOGarithmic | Power Trace 2
7 | Standard | S21 | 7 | 1 | MLOGarithmic | Power Trace 3
7 | Standard | S22 | 7 | 1 | MLOGarithmic | Power Trace 4
8 | Standard | S11 | 8 | 1 | MLOGarithmic | CW Trace 1
8 | Standard | S12 | 8 | 1 | MLOGarithmic | CW Trace 2
8 | Standard | S21 | 8 | 1 | MLOGarithmic | CW Trace 3
8 | Standard | S22 | 8 | 1 | MLOGarithmic | CW Trace 4
9 | Standard | S11 | 9 | 1 | MLOGarithmic | Phase Trace 1
9 | Standard | S12 | 9 | 1 | MLOGarithmic | Phase Trace 2
9 | Standard | S21 | 9 | 1 | MLOGarithmic | Phase Trace 3
9 | Standard | S22 | 9 | 1 | MLOGarithmic | Phase Trace 4

## Values
Channel Type | Standard Sweep Type | Standard Trace | Format
Standard | LinearFrequency | S11 | MLINear
Gain Compression | LogFrequency | S12 | MLOGarithmic
Swept IMD | PowerSweep | S13 | PHASe
Noise Figure Cold Source | CWTime | S14 | UPHase
Spectrum Analyzer | SegmentSweep | S21 | IMAGinary
Gain Compression Converters | PhaseSweep | S22 | REAL
Swept IMD Converters |  | S23 | POLar
Noise Figure Converters |  | S24 | SMITh
Scalar Mixer Converter |  | S31 | SADMittance
|  | S32 | SWR
|  | S33 | GDELay
|  | S34 | KELVin
|  | S41 | FAHRenheit
|  | S42 | CELSius
|  | S43 | PPHase
|  | S44 | COMPlex
Sss11
Ssd12
Ssc12
Sds21
Sdd22
Sdc22
Scs21
Scd22
Scc22
Sds21Scs21
Ssd12Ssc12
A1
A2
A3
A4
B1
B2
B3
B4
C1
C2
C3
C4
D1
D2
D3
D4
R11
R22
R33
R44
a11
a22
a33
a44
b11
b12
b13
b14
b21
b22
b23
b24
b31
b32
b33
b34
b41
b42
b43
b44
AuxLn11
AuxLn21